# Echoes of Afrika – Yin-Yang Duplex Cost Sheet

This cost sheet provides an estimated breakdown of the construction costs for the Yin-Yang inspired duplex cottage, aligned with high-end coastal tourism finishes.

| Component | Unit Cost (KES) | Estimated Cost (KES) |
| --- | --- | --- |
| Foundation + Slab | 5,500 / m² | 632,500 |
| Walling (Curved) | 6,000 / m² | 690,000 |
| Roofing (Flat + Curved) | 5,000 / m² | 300,000 |
| Glazing & Frames (Curved) | Lump Sum | 500,000 |
| Interior Finishes | 4,000 / m² | 460,000 |
| Plumbing + Sanitary | Lump Sum | 250,000 |
| Electrical Works | Lump Sum | 180,000 |
| Fixtures/Fittings | Lump Sum | 200,000 |
| Landscaping + Terrace | Lump Sum | 150,000 |
| Labor & Overheads (15%) | 15% Contingency | 480,000 |

Total Estimated Cost per Unit: **KES 4,202,500**

Early Bird Offer (First 5 Units): **KES 3,500,000**